## MonthlyReportSummary_2026_06_16
StationName | State | InverterSerialNumber | Model | Inverter Alias | InstalledCapacity(kWp) | Date of grid connection of the power station | Grid Purchase | Grid Feed-in | Consumption | AC Side Generation | DC Side Generation | Equivalent hours | GridConnectionTime(h) | Address | owner | Operation and maintenance | Affiliated Company | Total(kWh) | 2026-02
[19 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28
Kecskemétiné Kiss Ildikó - Budapest | Normal | SP001060322B0057 | ASW10K-LT-G2 Pro |  | 10 | 1970-01-01 00:00:00 |  |  |  | 454.0kWh | 454.0kWh | 45.4 | 10706 | Budapest, Kézdivásárhely u. 9, 1182 Hungary | monitoring@stsolar.hu | monitoring@stsolar.hu |  | 454 | 2.8 | 2.7 | 0.4 | 2.2 | 14.2 | 6.8 | 15.5 | 30 | 11.3 | 8 | 4 | 13.6 | 26.2 | 25.7 | 3.7 | 11.5 | 9.6 | 28.6 | 3.4 | 5.7 | 11.5 | 14.7 | 10.1 | 38.9 | 33.5 | 40.6 | 39 | 39.8