## MonthlyReportSummary_2026_06_16
StationName | State | InverterSerialNumber | Model | Inverter Alias | InstalledCapacity(kWp) | Date of grid connection of the power station | Grid Purchase | Grid Feed-in | Consumption | AC Side Generation | DC Side Generation | Equivalent hours | GridConnectionTime(h) | Address | owner | Operation and maintenance | Affiliated Company | Total(kWh) | 2026-01
[19 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
Kecskemétiné Kiss Ildikó - Budapest | Normal | SP001060322B0057 | ASW10K-LT-G2 Pro |  | 10 | 1970-01-01 00:00:00 |  |  |  | 214.5kWh | 214.5kWh | 21.45 | 10706 | Budapest, Kézdivásárhely u. 9, 1182 Hungary | monitoring@stsolar.hu | monitoring@stsolar.hu |  | 214.5 | 6.7 | 2.4 | 18.9 | 12.4 | 4.2 | 0.1 | 0.1 | 10.8 | 3.8 | 0.6 | 9.1 | 8 | 0.7 | 0.1 | 1.7 | 1.6 | 5 | 25.9 | 3.6 | 19 | 11.5 | 5 | 7.8 | 6.7 | 4.3 | 3.9 | 27.5 | 3.8 | 2.1 | 2 | 5.2