## MonthlyReportSummary_2026_08_04
StationName | State | InverterSerialNumber | Model | Inverter Alias | InstalledCapacity(kWp) | Date of grid connection of the power station | Grid Purchase | Grid Feed-in | Consumption | AC Side Generation | DC Side Generation | Equivalent hours | GridConnectionTime(h) | Address | owner | Operation and maintenance | Affiliated Company | Total(kWh) | 2026-07
[19 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
Kecskemétiné Kiss Ildikó - Budapest | Offline | SP001060322B0057 | ASW10K-LT-G2 Pro |  | 10 | 1970-01-01 00:00:00 |  |  |  | 1357.5kWh | 1357.5kWh | 135.75 | 11432 | Budapest, Kézdivásárhely u. 9, 1182 Hungary | monitoring@stsolar.hu | monitoring@stsolar.hu |  | 1357.5 | 33.6 | 49 | 48.8 | 56.4 | 28.1 | 43.2 | 29 | 24.7 | 47.2 | 45.3 | 46.6 | 37.4 | 44.8 | 54.9 | 24.4 | 32.4 | 53 | 43 | 31.3 | 57.7 | 51.4 | 49.2 | 28.8 | 48.4 | 56.4 | 50.8 | 29.2 | 54.4 | 53.4 | 52.5 | 52.2